## Totes
seq_name | seq_num | mode | is_bp | conc_ppm | volume_uL | ug_C | area | rf | rf_mass | snr | symmetry | t_retention | fwhm_doc | shift_sec | area_254 | a254_doc_ratio | bg_r2 | bg_asym | n_replicas | rsd | rsd_area | has_batman | has_timeout | is_outlier | quality_score | status | valid_for_calibration | valid_for_shift | condition_key
072_SEQ | 72 | COLUMN | FALSE | 2 | 400 | 0.8 | 106.5608 | 53.2804 | 133.201 | 423.9855 | 0.78359 | 20.8 | 1.3618 | 0 | 0 | 0 | 0.99175 | 1.6797 | 1 | 0 | 0 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_400_2
072_SEQ | 72 | COLUMN | FALSE | 0 | 400 | 0 | 334.96 | 0 | 0 | 423.9855 | 0.78359 | 20.8 | 1.3618 | 0 | 0 | 0 | 0.99175 | 1.6797 | 1 | 0 | 0 | TRUE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
072B_SEQ_BP | 72 | BP | TRUE | 0 | 400 | 0 | 501.7577 | 0 | 0 | 913.6444 | 0.69494 | 1.5333 | 1.2607 | 0 | 0 | 0 | 0.99664 | 1.5036 | 1 | 0 | 0 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_400_0
072B_SEQ_BP | 72 | BP | TRUE | 0 | 100 | 0 | 152.5268 | 0 | 0 | 220.0875 | 0.75487 | 1.7333 | 1.2339 | 0 | 0 | 0 | 0.99853 | 1.5702 | 1 | 0 | 0 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_100_0
073B_SEQ_BP | 73 | BP | TRUE | 0 | 400 | 0 | 814.078 | 0 | 0 | 998.0952 | 0.89438 | 1.6 | 1.1962 | 0 | 0 | 0 | 0.9976 | 1.5121 | 1 | 0 | 0 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_400_0
073_SEQ | 73 | COLUMN | FALSE | 0 | 400 | 0 | 293.1647 | 0 | 0 | 446.3878 | 0.62367 | 20.6667 | 1.1952 | 0 | 0 | 0 | 0.99301 | 1.6528 | 1 | 0 | 0 | TRUE | FALSE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_400_0
074B_SEQ_BP | 74 | BP | TRUE | 0 | 400 | 0 | 437.038 | 0 | 0 | 792.8 | 0.85636 | 1.6 | 1.3469 | 0 | 0 | 0 | 0.99531 | 1.5095 | 1 | 0 | 0 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_400_0
074_SEQ | 74 | COLUMN | FALSE | 0 | 400 | 0 | 321.9868 | 0 | 0 | 413.0269 | 0.42572 | 20.6333 | 1.2716 | 0 | 0 | 0 | 0.9926 | 1.8109 | 1 | 0 | 0 | TRUE | FALSE | FALSE | 3 | OK | TRUE | TRUE | COLUMN_400_0
075B_SEQ_BP | 75 | BP | TRUE | 0 | 400 | 0 | 496.4765 | 0 | 0 | 889 | 0.67263 | 1.6 | 1.3036 | 0 | 0 | 0 | 0.99614 | 1.5414 | 1 | 0 | 0 | FALSE | FALSE | FALSE | 20 | OK | TRUE | TRUE | BP_400_0
075_SEQ | 75 | COLUMN | FALSE | 0 | 400 | 0 | 314.4325 | 0 | 0 | 455.2338 | 1.0116 | 20.8833 | 1.2364 | 0 | 0 | 0 | 0.99366 | 1.6745 | 1 | 0 | 0 | TRUE | FALSE | FALSE | 20 | OK | TRUE | TRUE | COLUMN_400_0
076_SEQ | 76 | COLUMN | FALSE | 0 | 400 | 0 | 446.2491 | 0 | 0 | 466.5073 | 0.82693 | 20.8667 | 1.2748 | 0 | 0 | 0 | 0.99807 | 1.4855 | 1 | 0 | 0 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
077B_SEQ_BP | 77 | BP | TRUE | 0 | 400 | 0 | 1063.9748 | 0 | 0 | 999.7908 | 1 | 0.083333 | 0 | 0 | 0 | 0 |  |  | 1 | 0 | 0 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_400_0
077_SEQ | 77 | COLUMN | FALSE | 0 | 400 | 0 | 305.1073 | 0 | 0 | 421.5263 | 1.3821 | 19.4667 | 1.3538 | 0 | 0 | 0 | 0.98356 | 1.5321 | 1 | 0 | 0 | TRUE | FALSE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_400_0
079_SEQ | 79 | COLUMN | FALSE | 0 | 400 | 0 | 400.2787 | 0 | 0 | 417.7623 | 0.80604 | 19.5333 | 1.5592 | 0 | 0 | 0 | 0.98632 | 1.7561 | 1 | 0 | 0 | TRUE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
080_SEQ | 80 | COLUMN | FALSE | 0 | 400 | 0 | 254.3914 | 0 | 0 | 470.0591 | 0.82595 | 35.3778 | 2.2517 | 0 | 0 | 0 | 0.99434 | 1.4013 | 3 | 8.487 | 8.487 | TRUE | FALSE | FALSE | 20 | OK | TRUE | TRUE | COLUMN_400_0
107_SEQ_BP | 107 | BP | TRUE | 0.1 | 400 | 0.04 | 198.4564 | 1984.564 | 4961.41 | 71.4773 | 1.0979 | 7.8 | 1.3743 | 0 | 0 | 0 | 0.99735 | 1.6514 | 2 | 13.8557 | 13.8557 | TRUE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_400_0
107_SEQ_BP | 107 | BP | TRUE | 1 | 400 | 0.4 | 422.6644 | 422.6644 | 1056.661 | 71.4235 | 0.68344 | 4.5333 | 0.82686 | 0 | 0 | 0 | 0.99553 | 1.5044 | 2 | 98.8565 | 98.8565 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_400_1
108_SEQ_BP | 108 | BP | TRUE | 1 | 100 | 0.1 | 189.5099 | 189.5099 | 1895.0987 | 155.7525 | 0.69478 | 7.7333 | 1.2074 | 0 | 0 | 0 | 0.99911 | 1.4139 | 2 | 10.6807 | 10.6807 | TRUE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_100_1
108_SEQ_BP | 108 | BP | TRUE | 0.25 | 400 | 0.1 | 384.5667 | 1538.2667 | 3845.6667 | 111.7669 | 0.83334 | 4.2 | 1.1523 | 0 | 0 | 0 | 0.99517 | 1.3994 | 2 | 98.0885 | 98.0885 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_400_0
108_SEQ_BP | 108 | BP | TRUE | 0.1 | 100 | 0.01 | 100.6511 | 1006.5113 | 10065.1133 | 105.9185 | 0.77953 | 7.8056 | 1.1877 | 0 | 0 | 0 | 0.9982 | 1.5022 | 3 | 5.3583 | 5.3583 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_100_0
109B_SEQ_BP | 109 | BP | TRUE | 0.01 | 400 | 0.004 | 227.725 | 22772.5 | 56931.25 | 169.2008 | 0.82002 | 7.4167 | 1.2841 | 0 | 0 | 0 | 0.99851 | 1.4504 | 1 | 0 | 0 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_400_0
112_SEQ | 112 | COLUMN | FALSE | 0 | 400 | 0 | 164.2637 | 0 | 0 | 14.9011 | 0.86469 | 34.9083 | 1.5096 | 0 | 0 | 0 | 0.9993 | 1.0708 | 2 | 34.1567 | 34.1567 | FALSE | TRUE | TRUE | 140 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
118_SEQ | 118 | COLUMN | FALSE | 0 | 400 | 0 | 165.5148 | 0 | 0 | 463.6546 | 0.81201 | 24.5167 | 1.504 | 0 | 0 | 0 | 0.99368 | 1.394 | 2 | 4.9282 | 4.9282 | TRUE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
121_SEQ | 121 | COLUMN | FALSE | 0 | 400 | 0 | 284.7533 | 0 | 0 | 414.2198 | 0.74937 | 20.9667 | 1.2796 | 0 | 0 | 0 | 0.99367 | 1.5119 | 1 | 0 | 0 | FALSE | TRUE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_400_0
122_SEQ | 122 | COLUMN | FALSE | 0 | 400 | 0 | 279.7317 | 0 | 0 | 576.55 | 0.82394 | 20.9333 | 1.2639 | 0 | 0 | 0 | 0.99465 | 1.5422 | 1 | 0 | 0 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_400_0
124_SEQ | 124 | COLUMN | FALSE | 0 | 400 | 0 | 179.6705 | 0 | 0 | 426.6752 | 0.75677 | 21.1167 | 1.4403 | 0 | 0 | 0 | 0.36019 | 13.8478 | 2 | 77.5361 | 77.5361 | TRUE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
125_SEQ | 125 | COLUMN | FALSE | 0 | 400 | 0 | 520.7572 | 0 | 0 | 599.0421 | 1.1037 | 29.3833 | 1.4069 | 0 | 0 | 0 | 0.99744 | 1.3187 | 6 | 26.0102 | 26.0102 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
126_SEQ | 126 | COLUMN | FALSE | 0 | 400 | 0 | 40.8417 | 0 | 0 | 33.1975 | 1 | 23.175 | 0 | 0 | 0 | 0 | 0.9965 | 0.69372 | 2 | 7.66 | 7.66 | FALSE | FALSE | TRUE | 110 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
127_SEQ | 127 | COLUMN | FALSE | 0 | 400 | 0 | 170.3087 | 0 | 0 | 228.0483 | 0.87301 | 18.5944 | 1.3411 | 0 | 0 | 0 | 0.98973 | 1.3237 | 6 | 39.4811 | 39.4811 | TRUE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
128_SEQ | 128 | COLUMN | FALSE | 4.75 | 400 | 1.9 | 239.7357 | 50.4707 | 126.1767 | 267.3169 | 0.7611 | 18.7667 | 1.1042 | 0 | 0 | 0 | 0.99133 | 1.3264 | 1 | 0 | 0 | FALSE | TRUE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_400_4
128_SEQ | 128 | COLUMN | FALSE | 6.88 | 400 | 2.752 | 4845.28 | 704.2558 | 1760.6395 | 560.4742 | 0.79386 | 22.9667 | 1.2993 | 0 | 0 | 0 | 0.99984 | 1.2321 | 1 | 0 | 0 | FALSE | TRUE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_400_6
129_SEQ | 129 | COLUMN | FALSE | 4.75 | 400 | 1.9 | 210.0587 | 44.2229 | 110.5572 | 164.6787 | 0.77368 | 18.8833 | 1.1117 | 0 | 0 | 0 | 0.98708 | 1.3765 | 1 | 0 | 0 | FALSE | TRUE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_400_4
129_SEQ | 129 | COLUMN | FALSE | 6.88 | 400 | 2.752 | 5047.1907 | 733.6033 | 1834.0082 | 996.2027 | 0.76165 | 22.8667 | 1.3362 | 0 | 0 | 0 | 0.99981 | 1.2686 | 1 | 0 | 0 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_400_6
136_SEQ | 136 | COLUMN | FALSE | 0 | 400 | 0 | 893.12 | 0 | 0 | 984.8277 | 0.83669 | 22.0667 | 1.2145 | 0 | 0 | 0 | 0.99881 | 1.3154 | 1 | 0 | 0 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
139_SEQ | 139 | COLUMN | FALSE | 0 | 400 | 0 | 184.8077 | 0 | 0 | 487.2156 | 0.7849 | 26.55 | 1.3002 | 0 | 0 | 0 | 0.99351 | 1.295 | 1 | 0 | 0 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
140_SEQ | 140 | COLUMN | FALSE | 0 | 400 | 0 | 238.4109 | 0 | 0 | 210.9577 | 0.87961 | 20.5333 | 1.2306 | 0 | 0 | 0 | 0.99944 | 1.4122 | 1 | 0 | 0 | FALSE | TRUE | FALSE | 20 | OK | TRUE | TRUE | COLUMN_400_0
141_SEQ | 141 | COLUMN | FALSE | 0 | 400 | 0 | 683.3333 | 0 | 0 | 127.4317 | 0.7916 | 17.4 | 1.3504 | 0 | 0 | 0 | 0.9993 | 1.3779 | 1 | 0 | 0 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
143_SEQ | 143 | COLUMN | FALSE | 0 | 400 | 0 | 21.91 | 0 | 0 | 20.8406 | 1 | 38.6333 | 0 | 0 | 0 | 0 | 0.97355 | 1.7116 | 1 | 0 | 0 | FALSE | TRUE | TRUE | 110 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
144_SEQ | 144 | COLUMN | FALSE | 0 | 400 | 0 | 495.3879 | 0 | 0 | 170.6132 | 0.86882 | 20 | 1.3072 | 0 | 0 | 0 | 0.20751 | 0.070458 | 2 | 19.8522 | 19.8522 | TRUE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
145_SEQ_BP | 145 | BP | TRUE | 0 | 100 | 0 | 195.7749 | 0 | 0 | 171.3327 | 0.75734 | 6.4833 | 1.0768 | 0 | 0 | 0 | 0.99932 | 1.3873 | 2 | 99.642 | 99.642 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_100_0
146_SEQ_BP | 146 | BP | TRUE | 0 | 100 | 0 | 60.2864 | 0 | 0 | 267.9977 | 0.92994 | 6.5208 | 1.1649 | 0 | 0 | 0 | 0.99896 | 1.4547 | 4 | 77.6175 | 77.6175 | TRUE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_0
147_SEQ | 147 | COLUMN | FALSE | 0 | 400 | 0 | 503.4617 | 0 | 0 | 893.3247 | 0.85897 | 24.3333 | 1.1021 | 0 | 0 | 0 | 0.9992 | 1.2368 | 1 | 0 | 0 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
148_SEQ_BP | 148 | BP | TRUE | 0 | 100 | 0 | 537.7 | 0 | 0 | 81.1297 | 0.7751 | 5.0167 | 1.2272 | 0 | 0 | 0 | 0.99778 | 1.7572 | 1 | 0 | 0 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_0
150_SEQ | 150 | COLUMN | FALSE | 0 | 400 | 0 | 121.7632 | 0 | 0 | 166.053 | 0.77016 | 24.3333 | 1.306 | 0 | 0 | 0 | 0.96829 | 1.3257 | 1 | 0 | 0 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
151_SEQ_BP | 151 | BP | TRUE | 0 | 100 | 0 | 280.5597 | 0 | 0 | 462.5571 | 1 | 0.46667 | 0 | 0 | 0 | 0 | 0.99577 | 0.31877 | 1 | 0 | 0 | TRUE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_0
152_SEQ_BP | 152 | BP | TRUE | 3 | 100 | 0.3 | 270.5568 | 90.1856 | 901.8558 | 398.5429 | 0.79619 | 1.1333 | 1.2585 | 0 | 0 | 0 | 0.99863 | 1.5685 | 2 | 0.086913 | 0.086913 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_100_3
152_SEQ_BP | 152 | BP | TRUE | 0.25 | 100 | 0.025 | 35.9602 | 143.8408 | 1438.408 | 43.25 | 0.74961 | 1.2667 | 1.5335 | 0 | 0 | 0 | 0.99526 | 1.7617 | 2 | 7.3733 | 7.3733 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_0
152_SEQ_BP | 152 | BP | TRUE | 1 | 100 | 0.1 | 96.0331 | 96.0331 | 960.3307 | 133.1833 | 0.722 | 1.1333 | 1.3275 | 0 | 0 | 0 | 0.99848 | 1.5896 | 2 | 1.8218 | 1.8218 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_100_1
152_SEQ_BP | 152 | BP | TRUE | 5 | 100 | 0.5 | 237.902 | 47.5804 | 475.8041 | 617.8021 | 0.8228 | 1.1333 | 1.346 | 0 | 0 | 0 | 0.99489 | 1.6025 | 2 | 1.0388 | 1.0388 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_100_5
154_SEQ_BP | 154 | BP | TRUE | 1 | 400 | 0.4 | 844.7563 | 844.7563 | 2111.8908 | 999.8373 | 0.87537 | 1 | 1.1488 | 0 | 0 | 0 | 0.99838 | 1.4149 | 1 | 0 | 0 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_400_1
156_SEQ_BP | 156 | BP | TRUE | 1 | 100 | 0.1 | 135.818 | 135.818 | 1358.1797 | 232.7184 | 0.75279 | 4 | 1.0139 | 0 | 0 | 0 | 0.9975 | 1.5895 | 3 | 2.2695 | 2.2695 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_100_1
156_SEQ_BP | 156 | BP | TRUE | 5 | 100 | 0.5 | 400.906 | 80.1812 | 801.812 | 746.272 | 0.82159 | 3.9778 | 1.0372 | 0 | 0 | 0 | 0.99663 | 1.4533 | 3 | 3.8671 | 3.8671 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_100_5
156_SEQ_BP | 156 | BP | TRUE | 3 | 100 | 0.3 | 247.3975 | 82.4658 | 824.6584 | 457.4272 | 0.78082 | 3.8444 | 0.99407 | 0 | 0 | 0 | 0.9987 | 1.5018 | 3 | 0.43595 | 0.43595 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_100_3
156_SEQ_BP | 156 | BP | TRUE | 0.25 | 100 | 0.025 | 95.6515 | 382.606 | 3826.0596 | 131.2868 | 0.73057 | 4.0444 | 1.1001 | 0 | 0 | 0 | 0.99566 | 1.8641 | 3 | 1.4648 | 1.4648 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_0
160_SEQ | 160 | COLUMN | FALSE | 1 | 400 | 0.4 | 99.636 | 99.636 | 249.09 | 523.104 | 0.70112 | 25.15 | 1.0049 | 0 | 0 | 0 | 0.99542 | 1.6007 | 1 | 0 | 0 | TRUE | FALSE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_400_1
161_SEQ | 161 | COLUMN | FALSE | 1 | 400 | 0.4 | 257.4417 | 257.4417 | 643.6042 | 287.9094 | 0.61153 | 28.5 | 2.3998 | 0 | 0 | 0 | 0.99924 | 1.5406 | 2 | 27.3818 | 27.3818 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_400_1
162_SEQ_BP | 162 | BP | TRUE | 1 | 100 | 0.1 | 102.2818 | 102.2818 | 1022.8177 | 196 | 0.7326 | 3.7333 | 0.97656 | 0 | 0 | 0 | 0.99863 | 1.4106 | 2 | 1.4554 | 1.4554 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_1
164_SEQ | 164 | COLUMN | FALSE | 1 | 400 | 0.4 | 96.8384 | 96.8384 | 242.096 | 490.4039 | 0.82984 | 24.7 | 1.0474 | 0 | 0 | 0 | 0.99405 | 1.6605 | 2 | 50.5823 | 50.5823 | TRUE | FALSE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_400_1
165_SEQ_BP | 165 | BP | TRUE | 1 | 100 | 0.1 | 108.6361 | 108.6361 | 1086.361 | 213.3 | 0.90562 | 3.4667 | 0.94988 | 0 | 0 | 0 | 0.99921 | 1.4092 | 2 | 0.056795 | 0.056795 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_1
167_SEQ_BP | 167 | BP | TRUE | 0.5 | 100 | 0.05 | 51.667 | 103.334 | 1033.34 | 83.1333 | 0.75213 | 2.5333 | 1.0877 | 0 | 0 | 0 | 0.99864 | 1.5361 | 2 | 2.2322 | 2.2322 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_0
168_SEQ | 168 | COLUMN | FALSE | 0 | 400 | 0 | 186.8609 | 0 | 0 | 322.3712 | 0.70205 | 23.7667 | 1.031 | 0 | 0 | 0 | 0.99832 | 1.5887 | 2 | 0.26843 | 0.26843 | FALSE | TRUE | FALSE | 20 | OK | TRUE | TRUE | COLUMN_400_0
173_SEQ_BP | 173 | BP | TRUE | 0.5 | 100 | 0.05 | 42.6006 | 85.2013 | 852.0127 | 35.547 | 1 | 10.2833 | 0 | 0 | 0 | 0 | 0.99905 | 1.2786 | 3 | 70.7228 | 70.7228 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_0
174_SEQ | 174 | BP | TRUE | 0.5 | 400 | 0.2 | 33.5683 | 67.1367 | 167.8417 | 57.9409 | 1 | 10.2833 | 0 | 0 | 0 | 0 | 0.99907 | 1.4313 | 2 | 51.0373 | 51.0373 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_400_0
175_SEQ | 175 | COLUMN | FALSE | 0.5 | 400 | 0.2 | 161.0168 | 322.0336 | 805.0839 | 281.4712 | 0.85099 | 20.7417 | 1.032 | 0 | 0 | 0 | 0.99908 | 1.4751 | 2 | 0.46738 | 0.46738 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
176_SEQ | 176 | COLUMN | FALSE | 0.5 | 400 | 0.2 | 176.4247 | 352.8493 | 882.1233 | 195.4857 | 0.75619 | 20.7 | 1.0344 | 0 | 0 | 0 | 0.99885 | 1.4998 | 1 | 0 | 0 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
177_SEQ | 177 | COLUMN | FALSE | 0.5 | 400 | 0.2 | 139.2548 | 278.5096 | 696.274 | 248.2795 | 0.73901 | 20.5333 | 1.0245 | 0 | 0 | 0 | 0.99913 | 1.5017 | 1 | 0 | 0 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
178_SEQ_BP | 178 | BP | TRUE | 1 | 100 | 0.1 | 57.4393 | 57.4393 | 574.3933 | 36.6667 | 1 | 10.175 | 0 | 0 | 0 | 0 | 0.99927 | 1.3665 | 2 | 34.7879 | 34.7879 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_1
179_SEQ | 179 | COLUMN | FALSE | 1 | 400 | 0.4 | 294.2659 | 294.2659 | 735.6648 | 495.8814 | 1.5261 | 20.7667 | 1.0633 | 0 | 0 | 0 | 0.99225 | 1.5977 | 2 | 1.9365 | 1.9365 | TRUE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
181_SEQ_BP | 181 | BP | TRUE | 1 | 100 | 0.1 | 56.7979 | 56.7979 | 567.9793 | 11.6784 | 0.76384 | 10 | 1.0584 | 0 | 0 | 0 | 0.9992 | 1.3858 | 2 | 37.5163 | 37.5163 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_1
182_SEQ | 182 | COLUMN | FALSE | 1 | 400 | 0.4 | 283.0817 | 283.0817 | 707.7043 | 503.9376 | 0.85703 | 20.4417 | 1.0365 | 0 | 0 | 0 | 0.99468 | 1.5949 | 2 | 1.7691 | 1.7691 | TRUE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
183_SEQ | 183 | BP | TRUE | 0.5 | 400 | 0.2 | 26.4475 | 52.8951 | 132.2377 | 6.0569 | 0.80194 | 9.8667 | 1.1076 | 0 | 0 | 0 | 0.99939 | 1.3707 | 2 | 48.7494 | 48.7494 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_400_0
184_SEQ | 184 | COLUMN | FALSE | 0.5 | 400 | 0.2 | 143.5712 | 287.1424 | 717.8561 | 245.141 | 0.85565 | 20.2667 | 1.0409 | 0 | 0 | 0 | 0.99891 | 1.5006 | 2 | 0.79209 | 0.79209 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
186_SEQ | 186 | COLUMN | FALSE | 1 | 400 | 0.4 | 263.2695 | 263.2695 | 658.1738 | 448.5817 | 0.84543 | 19.9083 | 1.0664 | 0 | 0 | 0 | 0.99909 | 1.4428 | 2 | 1.6297 | 1.6297 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
187_SEQ | 187 | BP | TRUE | 1 | 400 | 0.4 | 65.7944 | 65.7944 | 164.4861 | 8.3932 | 0.70335 | 9.6 | 1.0525 | 0 | 0 | 0 | 0.99857 | 1.4221 | 2 | 18.274 | 18.274 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_400_1
188_SEQ | 188 | COLUMN | FALSE | 1 | 400 | 0.4 | 300.8847 | 300.8847 | 752.2117 | 323.5702 | 0.49832 | 22.0083 | 2.067 | 0 | 0 | 0 | 0.99155 | 3.0342 | 2 | 4.6243 | 4.6243 | TRUE | TRUE | TRUE | 103 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
189_SEQ_BP | 189 | BP | TRUE | 1 | 100 | 0.1 | 67.7898 | 67.7898 | 677.898 | 10.7005 | 0.57621 | 9.4 | 0.50196 | 0 | 0 | 0 | 0.99685 | 1.4304 | 2 | 231.5071 | 231.5071 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_1
191_SEQ | 191 | COLUMN | FALSE | 1 | 400 | 0.4 | 317.8591 | 317.8591 | 794.6476 | 506.321 | 1.669 | 19.9667 | 1.1196 | 0 | 0 | 0 | 0.9943 | 1.4838 | 1 | 0 | 0 | TRUE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
192_SEQ | 192 | COLUMN | FALSE | 1 | 400 | 0.4 | 303.7804 | 303.7804 | 759.451 | 505.91 | 0.94514 | 19.6333 | 1.0832 | 0 | 0 | 0 | 0.9943 | 1.4374 | 2 | 0.55059 | 0.55059 | TRUE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
193_SEQ_BP | 193 | BP | TRUE | 1 | 100 | 0.1 | -19.2339 | -19.2339 | -192.3393 | 10.6421 | 0.092342 | 9.3083 | 0.097737 | 0 | 0 | 0 | 0.99864 | 1.4382 | 2 | 100 | 0 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_100_1
194_SEQ | 194 | COLUMN | FALSE | 1 | 400 | 0.4 | 297.7589 | 297.7589 | 744.3973 | 504.4693 | 0.96814 | 19.6667 | 1.0767 | 0 | 0 | 0 | 0.99712 | 1.4043 | 2 | 0.59892 | 0.59892 | TRUE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
195_SEQ | 195 | COLUMN | FALSE | 1 | 400 | 0.4 | 319.526 | 319.526 | 798.815 | 506.614 | 0.45931 | 19.3 | 1.1344 | 0 | 0 | 0 | 0.99419 | 1.5254 | 2 | 0.18098 | 0.18098 | TRUE | FALSE | TRUE | 103 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
199_SEQ | 199 | COLUMN | FALSE | 1 | 400 | 0.4 | 2147.2567 | 2147.2567 | 5368.1417 | 226.135 | 1.1072 | 23.4083 | 1.734 | 0 | 0 | 0 | 0.99276 | 1.3411 | 2 | 84.1471 | 84.1471 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
203_SEQ | 203 | COLUMN | FALSE | 1 | 400 | 0.4 | 136.1304 | 136.1304 | 340.326 | 206.1131 | 0.69859 | 11.7 | 1.7437 | 0 | 0 | 0 | 0.99402 | 1.413 | 2 | 10.4104 | 10.4104 | FALSE | FALSE | FALSE | 20 | OK | TRUE | TRUE | COLUMN_400_1
205_SEQ | 205 | BP | TRUE | 0.25 | 400 | 0.1 | 56.5703 | 226.2811 | 565.7027 | 11.5598 | 1 | 10.0833 | 0 | 0 | 0 | 0 | 0.99883 | 1.4693 | 2 | 14.0941 | 14.0941 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_400_0
205_SEQ | 205 | BP | TRUE | 5 | 400 | 2 | 266.3103 | 53.2621 | 133.1552 | 7.6699 | 1 | 9.95 | 0 | 0 | 0 | 0 | 0.99081 | 1.4092 | 2 | 56.2934 | 56.2934 | FALSE | TRUE | FALSE | 0 | OK | TRUE | TRUE | BP_400_5
205_SEQ | 205 | BP | TRUE | 2 | 400 | 0.8 | 135.1397 | 67.5698 | 168.9246 | 13.578 | 1 | 10 | 0 | 0 | 0 | 0 | 0.99801 | 1.4791 | 2 | 24.4304 | 24.4304 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_400_2
205_SEQ | 205 | BP | TRUE | 1 | 400 | 0.4 | 81.0767 | 81.0767 | 202.6917 | 14.4367 | 1 | 10 | 0 | 0 | 0 | 0 | 0.99694 | 1.5832 | 2 | 24.0318 | 24.0318 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_400_1
206_SEQ | 206 | COLUMN | FALSE | 0.25 | 400 | 0.1 | 205.9963 | 823.9853 | 2059.9633 | 125.3861 | 0.6573 | 19.3667 | 2.1692 | 0 | 0 | 0 | 0.9886 | 1.8079 | 2 | 37.634 | 37.634 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
206_SEQ | 206 | COLUMN | FALSE | 5 | 400 | 2 | 1362.8623 | 272.5725 | 681.4312 | 995.253 | 0.83394 | 18.6333 | 1.0046 | 0 | 0 | 0 | 0.99858 | 1.502 | 2 | 0.32535 | 0.32535 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_400_5
206_SEQ | 206 | COLUMN | FALSE | 2 | 400 | 0.8 | 494.4444 | 247.2222 | 618.0555 | 876.2952 | 0.81344 | 19.0667 | 1.1565 | 0 | 0 | 0 | 0.99687 | 1.4091 | 2 | 0.481 | 0.481 | FALSE | FALSE | FALSE | 20 | OK | TRUE | TRUE | COLUMN_400_2
206_SEQ | 206 | COLUMN | FALSE | 1 | 400 | 0.4 | 340.4714 | 340.4714 | 851.1786 | 243.4506 | 0.80064 | 19.3083 | 1.5992 | 0 | 0 | 0 | 0.98845 | 1.791 | 2 | 1.5528 | 1.5528 | TRUE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
208_SEQ_BP | 208 | BP | TRUE | 1 | 100 | 0.1 | 98.9054 | 98.9054 | 989.0538 | 143.836 | 2.043 | 9.5 | 0.58514 | 0 | 0 | 0 | 0.99938 | 1.3466 | 2 | 1.8819 | 1.8819 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_1
209B_SEQ | 209 | COLUMN | FALSE | 1 | 400 | 0.4 | 490.2924 | 490.2924 | 1225.731 | 849.7607 | 1.0719 | 28.3833 | 1.0185 | 0 | 0 | 0 | 0.99619 | 1.2257 | 1 | 0 | 0 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
209_SEQ | 209 | COLUMN | FALSE | 1 | 400 | 0.4 | 473.845 | 473.845 | 1184.6125 | 702.1343 | 0.9747 | 28.3667 | 1.1458 | 0 | 0 | 0 | 0.92351 | 1.1949 | 1 | 0 | 0 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
210_SEQ | 210 | COLUMN | FALSE | 0 | 400 | 0 | 880.1459 | 0 | 0 | 988.0578 | 0.97205 | 27.575 | 1.0307 | 0 | 0 | 0 | 0.99907 | 1.3008 | 2 | 7.7975 | 7.7975 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
214_SEQ_BP | 214 | BP | TRUE | 0 | 100 | 0 | 52.1109 | 0 | 0 | 185.4644 | 1 | 10.1333 | 0 | 0 | 0 | 0 |  |  | 2 | 36.1787 | 36.1787 | TRUE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_0
216_SEQ | 216 | COLUMN | FALSE | 2 | 400 | 0.8 | 282.8959 | 141.448 | 353.6199 | 79.6154 | 1.5912 | 55.75 | 2.3363 | 0 | 0 | 0 | 0.035529 | 32.1774 | 2 | 83.5474 | 83.5474 | TRUE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_2
217_SEQ_BP | 217 | BP | TRUE | 2 | 100 | 0.2 | 119.7879 | 59.8939 | 598.9394 | 557.8854 | 0.66151 | 2 | 1.0207 | 0 | 0 | 0 | 0.99221 | 1.5018 | 2 | 6.5001 | 6.5001 | TRUE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_2
217_SEQ_BP | 217 | BP | TRUE | 0 | 100 | 0 | 127.5687 | 0 | 0 | 578.0615 | 0.80526 | 12.7333 | 1.0735 | -699.525 | 0.48014 | 265.6903 | 0.99374 | 1.4405 | 1 | 0 | 0 | FALSE | FALSE | FALSE | 20 | OK | TRUE | TRUE | BP_100_0
218_SEQ | 218 | COLUMN | FALSE | 1 | 400 | 0.4 | 265.8553 | 265.8553 | 664.6383 | 417.7731 | 0.85935 | 27.9333 | 1.1842 | 0 | 0 | 0 | 0.9993 | 1.4251 | 2 | 102.0728 | 102.0728 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
218_SEQ | 218 | COLUMN | FALSE | 0 | 400 | 0 | 97.4159 | 0 | 0 | 542.6625 | 0.82224 | 56.6417 | 1.0357 | -2125.463 | 7.0125 | 13.8917 | 0.99983 | 1.2078 | 2 | 81.7998 | 81.7998 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
219_SEQ | 219 | COLUMN | FALSE | 0 | 400 | 0 | 13109.3552 | 0 | 0 | 499.275 | 0.71437 | 33.7417 | 2.6109 | -1515.738 | 7.7296 | 1695.9848 | 0.99414 | 1.8655 | 2 | 100.0282 | 100.0282 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
221_SEQ_BP | 221 | BP | TRUE | 0 | 100 | 0 | 22.5159 | 0 | 0 | 38.8045 | 0.75799 | 1.1583 | 1.07 | 0 | 0 | 0 | 0.99804 | 1.0577 | 2 | 6.9768 | 6.9768 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_0
222_SEQ | 222 | COLUMN | FALSE | 0 | 400 | 0 | 145.684 | 0 | 0 | 57.1136 | 0.61143 | 32.75 | 4.997 | 0 | 0 | 0 | 0.99338 | 1.1745 | 2 | 51.1321 | 51.1321 | TRUE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
223_SEQ | 223 | COLUMN | FALSE | 0 | 400 | 0 | 415.2692 | 0 | 0 | 296.3443 | 0.70536 | 20.675 | 2.2915 | 0 | 0 | 0 | 0.99639 | 1.9416 | 2 | 1.4245 | 1.4245 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
223_SEQ | 223 | COLUMN | FALSE | 1 | 400 | 0.4 | 232.4492 | 232.4492 | 581.1229 | 256.4911 | 0.80481 | 30.3 | 1.3952 | 0 | 0 | 0 | 0.99941 | 1.2899 | 2 | 11.8362 | 11.8362 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
224_SEQ | 224 | COLUMN | FALSE | 0 | 400 | 0 | 181.5411 | 0 | 0 | 237.0363 | 1.687 | 21.05 | 3.2832 | 0 | 0 | 0 | 0.95197 | 0.38245 | 2 | 44.515 | 44.515 | TRUE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
224_SEQ | 224 | COLUMN | FALSE | 1 | 400 | 0.4 | 269.6596 | 269.6596 | 674.149 | 414.378 | 1.1854 | 22.0083 | 1.0469 | 0 | 0 | 0 | 0.99904 | 1.4365 | 2 | 12.5017 | 12.5017 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
225_SEQ_BP | 225 | BP | TRUE | 0 | 100 | 0 | 147.0941 | 0 | 0 | 256.5108 | 0.7846 | 1.6667 | 1.0438 | 0 | 0 | 0 | 0.99877 | 1.4834 | 2 | 0.13702 | 0.13702 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_100_0
225_SEQ_BP | 225 | BP | TRUE | 1 | 100 | 0.1 | 92.9455 | 92.9455 | 929.455 | 174.6579 | 0.79269 | 1.7333 | 0.98517 | 0 | 0 | 0 | 0.99886 | 1.4355 | 2 | 1.6026 | 1.6026 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_1
226_SEQ_BP | 226 | BP | TRUE | 1 | 100 | 0.1 | 15.8992 | 15.8992 | 158.992 | 5.0691 | 0.64865 | 9.95 | 0.62916 | 0 | 0 | 0 | 0.99937 | 1.4066 | 2 | 134.8003 | 134.8003 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_1
227_SEQ | 227 | COLUMN | FALSE | 1 | 400 | 0.4 | 417.7064 | 417.7064 | 1044.2659 | 239.9109 | 0.82529 | 39.8333 | 1.1571 | 0 | 0 | 0 | 0.99766 | 1.3396 | 2 | 1.2581 | 1.2581 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
230_SEQ | 230 | COLUMN | FALSE | 1 | 400 | 0.4 | 1061.9062 | 1061.9062 | 2654.7654 | 686.2735 | 0.87031 | 39.325 | 1.036 | 0 | 0 | 0 | 0.99916 | 1.2645 | 2 | 5.3703 | 5.3703 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
232_SEQ | 232 | COLUMN | FALSE | 1 | 400 | 0.4 | 2766.742 | 2766.742 | 6916.855 | 235.1708 | 0.69519 | 42.675 | 1.4515 | 0 | 0 | 0 | 0.95914 | 2.9511 | 2 | 4.1864 | 4.1864 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
233_SEQ | 233 | COLUMN | FALSE | 0 | 400 | 0 | 496.4667 | 0 | 0 | 544.0181 | 0.68686 | 42.4417 | 1.5818 | 0 | 0 | 0 | 0.96113 | 2.5594 | 2 | 84.3854 | 84.3854 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
234_SEQ | 234 | COLUMN | FALSE | 0 | 400 | 0 | 3121.4495 | 0 | 0 | 993.6225 | 0.92457 | 25.6333 | 1.2201 | 0 | 0 | 0 | 0.99726 | 1.1154 | 2 | 0.22742 | 0.22742 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
235_SEQ_BP | 235 | BP | TRUE | 0 | 100 | 0 | 1506.7833 | 0 | 0 | 478.7337 | 0.8484 | 5.4667 | 1.0254 | 0 | 0 | 0 | 0.99908 | 1.3591 | 2 | 6.175 | 6.175 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_0
236_SEQ | 236 | COLUMN | FALSE | 0 | 400 | 0 | 312.7106 | 0 | 0 | 323.3745 | 0.46719 | 43.7056 | 1.8523 | 0 | 0 | 0 | 0.9847 | 4.1787 | 3 | 26.7876 | 26.7876 | FALSE | TRUE | FALSE | 23 | OK | TRUE | TRUE | COLUMN_400_0
239_SEQ | 239 | COLUMN | FALSE | 0 | 400 | 0 | 273.1348 | 0 | 0 | 256.032 | 0.82095 | 29 | 1.1938 | 0 | 0 | 0 | 0.98272 | 1.6585 | 2 | 22.7866 | 22.7866 | FALSE | TRUE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_400_0
244_SEQ | 244 | COLUMN | FALSE | 0 | 400 | 0 | 81979.2293 | 0 | 0 | 4.9542 | 1 | 11.0667 | 0 | 0 | 0 | 0 | 0.81851 | 0.094297 | 1 | 0 | 0 | TRUE | TRUE | TRUE | 140 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
250_SEQ | 250 | COLUMN | FALSE | 0 | 400 | 0 | 2.9899 | 0 | 0 | 7.6714 | 1 | 20.5333 | 0 | 0 | 0 | 0 | 0.92133 | 9.3576 | 1 | 0 | 0 | FALSE | TRUE | TRUE | 140 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
256_SEQ | 256 | COLUMN | FALSE | 5 | 100 | 0.5 | 1313.2093 | 262.6419 | 2626.4187 | 938.7419 | 0.85749 | 21.3417 | 0.98468 | 5.775 | 32.4175 | 40.5094 | 0.99878 | 1.5154 | 2 | 0.53629 | 0.53629 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_100_5
258_SEQ | 258 | COLUMN | FALSE | 1 | 100 | 0.1 | 114.576 | 114.576 | 1145.7597 | 408.7034 | 0.76883 | 22.7667 | 1.2552 | -62.938 | 5.4426 | 21.0522 | 0.99084 | 1.5248 | 2 | 0.0833 | 0.0833 | TRUE | TRUE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_100_1
262_SEQ | 262 | COLUMN | FALSE | 5 | 100 | 0.5 | 1289.3225 | 257.8645 | 2578.645 | 997.1626 | 0.79745 | 22.2 | 0.9868 | -50.125 | 32.8507 | 39.2477 | 0.99816 | 1.5048 | 2 | 0.54402 | 0.54402 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_100_5
262B_SEQ | 262 | COLUMN | FALSE | 5 | 100 | 0.5 | 1379.8183 | 275.9637 | 2759.6366 | 993.8739 | 0.74149 | 22.2333 | 0.987 | -53.2565 | 34.1873 | 40.3644 | 0.99866 | 1.5325 | 2 | 0.36913 | 0.36913 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_100_5
263_SEQ_BP | 263 | BP | TRUE | 5 | 100 | 0.5 | 648.9771 | 129.7954 | 1297.9543 | 998.6475 | 0.8698 | 1 | 0.91189 | 5.2935 | 10.5404 | 61.5702 | 0.99761 | 1.5177 | 2 | 0.44381 | 0.44381 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_100_5
265_SEQ | 265 | COLUMN | FALSE | 5 | 100 | 0.5 | 1366.626 | 273.3252 | 2733.2519 | 996.4594 | 0.73046 | 20.6333 | 0.96813 | 0 | 0 | 0 | 0.99866 | 1.5407 | 2 | 0.20691 | 0.20691 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_100_5
266_SEQ | 266 | COLUMN | FALSE | 5 | 100 | 0.5 | 704.7332 | 140.9466 | 1409.4663 | 994.7295 | 0.42103 | 20.6583 | 1.2256 | 51.662 | 37.9742 | 18.5582 | 0.91617 | 5.6615 | 2 | 41.1944 | 41.1944 | FALSE | TRUE | TRUE | 103 | INVALID_CAL | FALSE | TRUE | COLUMN_100_5
267_SEQ | 267 | COLUMN | FALSE | 5 | 100 | 0.5 | 1636.8359 | 327.3672 | 3273.6718 | 996.9555 | 0.89018 | 20.8 | 0.95505 | 28.656 | 43.4827 | 37.6433 | 0.99818 | 1.542 | 2 | 0.20282 | 0.20282 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_100_5
268_SEQ_BP | 268 | BP | TRUE | 5 | 100 | 0.5 | 256.2766 | 51.2553 | 512.5532 | 634.6308 | 0.84558 | 1.6667 | 1.0321 | -34.538 | 9.3857 | 27.3074 | 0.99492 | 1.5232 | 2 | 0.71131 | 0.71131 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_5
269B_SEQ | 269 | COLUMN | FALSE | 2 | 100 | 0.2 | 576.7502 | 288.3751 | 2883.7508 | 995.0977 | 0.87067 | 21.4 | 0.9613 | -10.538 | 14.491 | 39.8049 | 0.99716 | 1.5935 | 2 | 0.31524 | 0.31524 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_100_2
270_SEQ_BP | 270 | BP | TRUE | 2 | 100 | 0.2 | 195.7477 | 97.8738 | 978.7383 | 237.7657 | 0.79894 | 1.3333 | 0.96672 | -14.713 | 4.8967 | 39.9757 | 0.99907 | 1.4732 | 2 | 0.045739 | 0.045739 | FALSE | TRUE | FALSE | 0 | OK | TRUE | TRUE | BP_100_2
271_SEQ_BP | 271 | BP | TRUE | 2 | 100 | 0.2 | 4817.3641 | 2408.682 | 24086.8203 | 999.9372 | 1.314 | 0.93333 | 1.1764 | 9.65 | 54.3923 | 88.5684 | 0.98064 | 1.0338 | 2 | 0.39389 | 0.39389 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_2
272_SEQ | 272 | COLUMN | FALSE | 2 | 100 | 0.2 | 1445.2512 | 722.6256 | 7226.256 | 997.1243 | 2.391 | 22.0167 | 1.8887 | -23.5 | 19.3386 | 74.7339 | 0.97383 | 0.55828 | 2 | 16.9235 | 16.9235 | FALSE | TRUE | FALSE | 3 | OK | TRUE | TRUE | COLUMN_100_2
273_SEQ_BP | 273 | BP | TRUE | 2 | 100 | 0.2 | 167.5329 | 83.7664 | 837.6643 | 328.8779 | 0.80926 | 1.1667 | 0.94991 | -4.7565 | 4.4124 | 37.9704 | 0.99944 | 1.4064 | 2 | 0.89634 | 0.89634 | FALSE | FALSE | FALSE | 20 | OK | TRUE | TRUE | BP_100_2
274_SEQ | 274 | COLUMN | FALSE | 2 | 100 | 0.2 | 148.6632 | 74.3316 | 743.3162 | 269.145 | 0.85716 | 21.2083 | 0.99713 | -43.819 | 4.374 | 34.0562 | 0.99916 | 1.4845 | 2 | 0.83134 | 0.83134 | FALSE | TRUE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_100_2
275_SEQ | 275 | COLUMN | FALSE | 2 | 400 | 0.8 | 579.0798 | 289.5399 | 723.8497 | 992.762 | 0.82539 | 21.9 | 0.96247 | -49.3125 | 14.8912 | 38.8873 | 0.99694 | 1.5844 | 2 | 0.31248 | 0.31248 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_2
276B_SEQ | 276 | COLUMN | FALSE | 2 | 400 | 0.8 | 584.1903 | 292.0952 | 730.2379 | 995.7748 | 0.72207 | 20.8667 | 0.98143 | 6.7 | 15.2112 | 38.4054 | 0.99694 | 1.6173 | 2 | 0.20835 | 0.20835 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_2
276_SEQ | 276 | COLUMN | FALSE | 2 | 400 | 0.8 | 572.3485 | 286.1742 | 715.4356 | 993.4505 | 0.7166 | 20.8583 | 0.98424 | 7.575 | 14.1509 | 40.5039 | 0.99706 | 1.6446 | 2 | 0.36606 | 0.36606 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_2
277_SEQ_BP | 277 | BP | TRUE | 2 | 100 | 0.2 | 155.2199 | 77.61 | 776.0997 | 300.8805 | 0.76229 | 1 | 0.95751 | 5.3245 | 4.4148 | 35.1585 | 0.99918 | 1.4655 | 2 | 0.39656 | 0.39656 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_2
278_SEQ | 278 | COLUMN | FALSE | 2 | 400 | 0.8 | 591.3984 | 295.6992 | 739.248 | 994.9567 | 0.86785 | 20.8 | 0.97243 | 10.2685 | 15.107 | 39.1473 | 0.99739 | 1.6353 | 2 | 0.13653 | 0.13653 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_400_2
279B_SEQ_BP | 279 | BP | TRUE | 2 | 100 | 0.2 | 183.4352 | 91.7176 | 917.1758 | 339.1 | 0.8299 | 0.93333 | 0.99249 | 9.112 | 5.3028 | 34.5962 | 0.99911 | 1.4579 | 2 | 0.60466 | 0.60466 | FALSE | FALSE | FALSE | 20 | OK | TRUE | TRUE | BP_100_2
281_SEQ_BP | 281 | BP | TRUE | 2 | 100 | 0.2 | 196.8855 | 98.4427 | 984.4273 | 372.3843 | 0.84464 | 1.375 | 0.95845 | -17.194 | 4.8386 | 40.6886 | 0.99859 | 1.4568 | 2 | 2.0293 | 2.0293 | FALSE | TRUE | FALSE | 20 | OK | TRUE | TRUE | BP_100_2
282B_SEQ | 282 | COLUMN | FALSE | 2 | 400 | 0.8 | 584.3404 | 292.1702 | 730.4255 | 997.4024 | 0.84561 | 20.675 | 0.95855 | 15.3685 | 15.8135 | 37.0488 | 0.99734 | 1.5955 | 2 | 0.034957 | 0.034957 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_2
282_SEQ | 282 | COLUMN | FALSE | 2 | 400 | 0.8 | 556.4176 | 278.2088 | 695.522 | 997.48 | 0.7621 | 20.625 | 0.95904 | 17.975 | 14.6966 | 37.8608 | 0.99709 | 1.6002 | 2 | 0.099925 | 0.099925 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_2
283_SEQ | 283 | COLUMN | FALSE | 2 | 400 | 0.8 | 630.7117 | 315.3558 | 788.3896 | 997.1715 | 0.87493 | 20.7 | 0.95919 | 14.275 | 16.2934 | 38.7108 | 0.99761 | 1.6438 | 2 | 0.31764 | 0.31764 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_2
284_SEQ_BP | 284 | BP | TRUE | 2 | 100 | 0.2 | 276.9472 | 138.4736 | 1384.7358 | 487.9708 | 0.76069 | 0.8 | 1.0228 | 16.706 | 4.2936 | 64.5027 | 0.99217 | 1.5054 | 2 | 0.25302 | 0.25302 | TRUE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_100_2
285_SEQ | 285 | COLUMN | FALSE | 2 | 400 | 0.8 | 575.5624 | 287.7812 | 719.453 | 986.1655 | 0.74788 | 21.3667 | 0.98136 | -26.9315 | 14.7763 | 38.9517 | 0.99665 | 1.6271 | 2 | 0.27239 | 0.27239 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_2
286_SEQ_BP | 286 | BP | TRUE | 2 | 100 | 0.2 | 201.0357 | 100.5178 | 1005.1785 | 367.2413 | 0.86275 | 1.1083 | 0.98067 | 2.612 | 5.812 | 35.3062 | 0.99866 | 1.5551 | 2 | 4.902 | 4.902 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_100_2
286_SEQ_BP | 286 | BP | TRUE | 2 | 50 | 0.1 | 87.5744 | 43.7872 | 875.744 | 169.5741 | 0.7751 | 0.93333 | 0.95324 | 7.0435 | 2.356 | 37.1739 | 0.99891 | 1.4439 | 2 | 0.10901 | 0.10901 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_50_2
290_SEQ | 290 | COLUMN | FALSE | 2 | 400 | 0.8 | 603.0535 | 301.5267 | 753.8169 | 999.6139 | 0.86609 | 21.0667 | 0.95723 | -10.525 | 15.7365 | 38.3225 | 0.997 | 1.6596 | 2 | 0.080396 | 0.080396 | FALSE | TRUE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_400_2

## Clean_COLUMN_400
seq_name | seq_num | mode | is_bp | conc_ppm | volume_uL | ug_C | area | rf | rf_mass | snr | symmetry | t_retention | fwhm_doc | shift_sec | area_254 | a254_doc_ratio | bg_r2 | bg_asym | n_replicas | rsd | rsd_area | has_batman | has_timeout | is_outlier | quality_score | status | valid_for_calibration | valid_for_shift | condition_key
072_SEQ | 72 | COLUMN | FALSE | 2 | 400 | 0.8 | 106.5608 | 53.2804 | 133.201 | 423.9855 | 0.78359 | 20.8 | 1.3618 | 0 | 0 | 0 | 0.99175 | 1.6797 | 1 | 0 | 0 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_400_2
128_SEQ | 128 | COLUMN | FALSE | 4.75 | 400 | 1.9 | 239.7357 | 50.4707 | 126.1767 | 267.3169 | 0.7611 | 18.7667 | 1.1042 | 0 | 0 | 0 | 0.99133 | 1.3264 | 1 | 0 | 0 | FALSE | TRUE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_400_4
128_SEQ | 128 | COLUMN | FALSE | 6.88 | 400 | 2.752 | 4845.28 | 704.2558 | 1760.6395 | 560.4742 | 0.79386 | 22.9667 | 1.2993 | 0 | 0 | 0 | 0.99984 | 1.2321 | 1 | 0 | 0 | FALSE | TRUE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_400_6
129_SEQ | 129 | COLUMN | FALSE | 4.75 | 400 | 1.9 | 210.0587 | 44.2229 | 110.5572 | 164.6787 | 0.77368 | 18.8833 | 1.1117 | 0 | 0 | 0 | 0.98708 | 1.3765 | 1 | 0 | 0 | FALSE | TRUE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_400_4
129_SEQ | 129 | COLUMN | FALSE | 6.88 | 400 | 2.752 | 5047.1907 | 733.6033 | 1834.0082 | 996.2027 | 0.76165 | 22.8667 | 1.3362 | 0 | 0 | 0 | 0.99981 | 1.2686 | 1 | 0 | 0 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_400_6
161_SEQ | 161 | COLUMN | FALSE | 1 | 400 | 0.4 | 257.4417 | 257.4417 | 643.6042 | 287.9094 | 0.61153 | 28.5 | 2.3998 | 0 | 0 | 0 | 0.99924 | 1.5406 | 2 | 27.3818 | 27.3818 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_400_1
175_SEQ | 175 | COLUMN | FALSE | 0.5 | 400 | 0.2 | 161.0168 | 322.0336 | 805.0839 | 281.4712 | 0.85099 | 20.7417 | 1.032 | 0 | 0 | 0 | 0.99908 | 1.4751 | 2 | 0.46738 | 0.46738 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
176_SEQ | 176 | COLUMN | FALSE | 0.5 | 400 | 0.2 | 176.4247 | 352.8493 | 882.1233 | 195.4857 | 0.75619 | 20.7 | 1.0344 | 0 | 0 | 0 | 0.99885 | 1.4998 | 1 | 0 | 0 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
177_SEQ | 177 | COLUMN | FALSE | 0.5 | 400 | 0.2 | 139.2548 | 278.5096 | 696.274 | 248.2795 | 0.73901 | 20.5333 | 1.0245 | 0 | 0 | 0 | 0.99913 | 1.5017 | 1 | 0 | 0 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
184_SEQ | 184 | COLUMN | FALSE | 0.5 | 400 | 0.2 | 143.5712 | 287.1424 | 717.8561 | 245.141 | 0.85565 | 20.2667 | 1.0409 | 0 | 0 | 0 | 0.99891 | 1.5006 | 2 | 0.79209 | 0.79209 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_0
186_SEQ | 186 | COLUMN | FALSE | 1 | 400 | 0.4 | 263.2695 | 263.2695 | 658.1738 | 448.5817 | 0.84543 | 19.9083 | 1.0664 | 0 | 0 | 0 | 0.99909 | 1.4428 | 2 | 1.6297 | 1.6297 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
203_SEQ | 203 | COLUMN | FALSE | 1 | 400 | 0.4 | 136.1304 | 136.1304 | 340.326 | 206.1131 | 0.69859 | 11.7 | 1.7437 | 0 | 0 | 0 | 0.99402 | 1.413 | 2 | 10.4104 | 10.4104 | FALSE | FALSE | FALSE | 20 | OK | TRUE | TRUE | COLUMN_400_1
206_SEQ | 206 | COLUMN | FALSE | 5 | 400 | 2 | 1362.8623 | 272.5725 | 681.4312 | 995.253 | 0.83394 | 18.6333 | 1.0046 | 0 | 0 | 0 | 0.99858 | 1.502 | 2 | 0.32535 | 0.32535 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_400_5
206_SEQ | 206 | COLUMN | FALSE | 2 | 400 | 0.8 | 494.4444 | 247.2222 | 618.0555 | 876.2952 | 0.81344 | 19.0667 | 1.1565 | 0 | 0 | 0 | 0.99687 | 1.4091 | 2 | 0.481 | 0.481 | FALSE | FALSE | FALSE | 20 | OK | TRUE | TRUE | COLUMN_400_2
209B_SEQ | 209 | COLUMN | FALSE | 1 | 400 | 0.4 | 490.2924 | 490.2924 | 1225.731 | 849.7607 | 1.0719 | 28.3833 | 1.0185 | 0 | 0 | 0 | 0.99619 | 1.2257 | 1 | 0 | 0 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
209_SEQ | 209 | COLUMN | FALSE | 1 | 400 | 0.4 | 473.845 | 473.845 | 1184.6125 | 702.1343 | 0.9747 | 28.3667 | 1.1458 | 0 | 0 | 0 | 0.92351 | 1.1949 | 1 | 0 | 0 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
223_SEQ | 223 | COLUMN | FALSE | 1 | 400 | 0.4 | 232.4492 | 232.4492 | 581.1229 | 256.4911 | 0.80481 | 30.3 | 1.3952 | 0 | 0 | 0 | 0.99941 | 1.2899 | 2 | 11.8362 | 11.8362 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
224_SEQ | 224 | COLUMN | FALSE | 1 | 400 | 0.4 | 269.6596 | 269.6596 | 674.149 | 414.378 | 1.1854 | 22.0083 | 1.0469 | 0 | 0 | 0 | 0.99904 | 1.4365 | 2 | 12.5017 | 12.5017 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
227_SEQ | 227 | COLUMN | FALSE | 1 | 400 | 0.4 | 417.7064 | 417.7064 | 1044.2659 | 239.9109 | 0.82529 | 39.8333 | 1.1571 | 0 | 0 | 0 | 0.99766 | 1.3396 | 2 | 1.2581 | 1.2581 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
230_SEQ | 230 | COLUMN | FALSE | 1 | 400 | 0.4 | 1061.9062 | 1061.9062 | 2654.7654 | 686.2735 | 0.87031 | 39.325 | 1.036 | 0 | 0 | 0 | 0.99916 | 1.2645 | 2 | 5.3703 | 5.3703 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
232_SEQ | 232 | COLUMN | FALSE | 1 | 400 | 0.4 | 2766.742 | 2766.742 | 6916.855 | 235.1708 | 0.69519 | 42.675 | 1.4515 | 0 | 0 | 0 | 0.95914 | 2.9511 | 2 | 4.1864 | 4.1864 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_1
275_SEQ | 275 | COLUMN | FALSE | 2 | 400 | 0.8 | 579.0798 | 289.5399 | 723.8497 | 992.762 | 0.82539 | 21.9 | 0.96247 | -49.3125 | 14.8912 | 38.8873 | 0.99694 | 1.5844 | 2 | 0.31248 | 0.31248 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_2
276B_SEQ | 276 | COLUMN | FALSE | 2 | 400 | 0.8 | 584.1903 | 292.0952 | 730.2379 | 995.7748 | 0.72207 | 20.8667 | 0.98143 | 6.7 | 15.2112 | 38.4054 | 0.99694 | 1.6173 | 2 | 0.20835 | 0.20835 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_2
276_SEQ | 276 | COLUMN | FALSE | 2 | 400 | 0.8 | 572.3485 | 286.1742 | 715.4356 | 993.4505 | 0.7166 | 20.8583 | 0.98424 | 7.575 | 14.1509 | 40.5039 | 0.99706 | 1.6446 | 2 | 0.36606 | 0.36606 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_2
278_SEQ | 278 | COLUMN | FALSE | 2 | 400 | 0.8 | 591.3984 | 295.6992 | 739.248 | 994.9567 | 0.86785 | 20.8 | 0.97243 | 10.2685 | 15.107 | 39.1473 | 0.99739 | 1.6353 | 2 | 0.13653 | 0.13653 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_400_2
282B_SEQ | 282 | COLUMN | FALSE | 2 | 400 | 0.8 | 584.3404 | 292.1702 | 730.4255 | 997.4024 | 0.84561 | 20.675 | 0.95855 | 15.3685 | 15.8135 | 37.0488 | 0.99734 | 1.5955 | 2 | 0.034957 | 0.034957 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_2
282_SEQ | 282 | COLUMN | FALSE | 2 | 400 | 0.8 | 556.4176 | 278.2088 | 695.522 | 997.48 | 0.7621 | 20.625 | 0.95904 | 17.975 | 14.6966 | 37.8608 | 0.99709 | 1.6002 | 2 | 0.099925 | 0.099925 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_2
283_SEQ | 283 | COLUMN | FALSE | 2 | 400 | 0.8 | 630.7117 | 315.3558 | 788.3896 | 997.1715 | 0.87493 | 20.7 | 0.95919 | 14.275 | 16.2934 | 38.7108 | 0.99761 | 1.6438 | 2 | 0.31764 | 0.31764 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_2
285_SEQ | 285 | COLUMN | FALSE | 2 | 400 | 0.8 | 575.5624 | 287.7812 | 719.453 | 986.1655 | 0.74788 | 21.3667 | 0.98136 | -26.9315 | 14.7763 | 38.9517 | 0.99665 | 1.6271 | 2 | 0.27239 | 0.27239 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | COLUMN_400_2
290_SEQ | 290 | COLUMN | FALSE | 2 | 400 | 0.8 | 603.0535 | 301.5267 | 753.8169 | 999.6139 | 0.86609 | 21.0667 | 0.95723 | -10.525 | 15.7365 | 38.3225 | 0.997 | 1.6596 | 2 | 0.080396 | 0.080396 | FALSE | TRUE | FALSE | 0 | OK | TRUE | TRUE | COLUMN_400_2

## Clean_BP_100
seq_name | seq_num | mode | is_bp | conc_ppm | volume_uL | ug_C | area | rf | rf_mass | snr | symmetry | t_retention | fwhm_doc | shift_sec | area_254 | a254_doc_ratio | bg_r2 | bg_asym | n_replicas | rsd | rsd_area | has_batman | has_timeout | is_outlier | quality_score | status | valid_for_calibration | valid_for_shift | condition_key
108_SEQ_BP | 108 | BP | TRUE | 0.1 | 100 | 0.01 | 100.6511 | 1006.5113 | 10065.1133 | 105.9185 | 0.77953 | 7.8056 | 1.1877 | 0 | 0 | 0 | 0.9982 | 1.5022 | 3 | 5.3583 | 5.3583 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_100_0
152_SEQ_BP | 152 | BP | TRUE | 3 | 100 | 0.3 | 270.5568 | 90.1856 | 901.8558 | 398.5429 | 0.79619 | 1.1333 | 1.2585 | 0 | 0 | 0 | 0.99863 | 1.5685 | 2 | 0.086913 | 0.086913 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_100_3
152_SEQ_BP | 152 | BP | TRUE | 0.25 | 100 | 0.025 | 35.9602 | 143.8408 | 1438.408 | 43.25 | 0.74961 | 1.2667 | 1.5335 | 0 | 0 | 0 | 0.99526 | 1.7617 | 2 | 7.3733 | 7.3733 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_0
152_SEQ_BP | 152 | BP | TRUE | 1 | 100 | 0.1 | 96.0331 | 96.0331 | 960.3307 | 133.1833 | 0.722 | 1.1333 | 1.3275 | 0 | 0 | 0 | 0.99848 | 1.5896 | 2 | 1.8218 | 1.8218 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_100_1
152_SEQ_BP | 152 | BP | TRUE | 5 | 100 | 0.5 | 237.902 | 47.5804 | 475.8041 | 617.8021 | 0.8228 | 1.1333 | 1.346 | 0 | 0 | 0 | 0.99489 | 1.6025 | 2 | 1.0388 | 1.0388 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_100_5
156_SEQ_BP | 156 | BP | TRUE | 1 | 100 | 0.1 | 135.818 | 135.818 | 1358.1797 | 232.7184 | 0.75279 | 4 | 1.0139 | 0 | 0 | 0 | 0.9975 | 1.5895 | 3 | 2.2695 | 2.2695 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_100_1
156_SEQ_BP | 156 | BP | TRUE | 5 | 100 | 0.5 | 400.906 | 80.1812 | 801.812 | 746.272 | 0.82159 | 3.9778 | 1.0372 | 0 | 0 | 0 | 0.99663 | 1.4533 | 3 | 3.8671 | 3.8671 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_100_5
156_SEQ_BP | 156 | BP | TRUE | 3 | 100 | 0.3 | 247.3975 | 82.4658 | 824.6584 | 457.4272 | 0.78082 | 3.8444 | 0.99407 | 0 | 0 | 0 | 0.9987 | 1.5018 | 3 | 0.43595 | 0.43595 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_100_3
156_SEQ_BP | 156 | BP | TRUE | 0.25 | 100 | 0.025 | 95.6515 | 382.606 | 3826.0596 | 131.2868 | 0.73057 | 4.0444 | 1.1001 | 0 | 0 | 0 | 0.99566 | 1.8641 | 3 | 1.4648 | 1.4648 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_0
162_SEQ_BP | 162 | BP | TRUE | 1 | 100 | 0.1 | 102.2818 | 102.2818 | 1022.8177 | 196 | 0.7326 | 3.7333 | 0.97656 | 0 | 0 | 0 | 0.99863 | 1.4106 | 2 | 1.4554 | 1.4554 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_1
165_SEQ_BP | 165 | BP | TRUE | 1 | 100 | 0.1 | 108.6361 | 108.6361 | 1086.361 | 213.3 | 0.90562 | 3.4667 | 0.94988 | 0 | 0 | 0 | 0.99921 | 1.4092 | 2 | 0.056795 | 0.056795 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_1
167_SEQ_BP | 167 | BP | TRUE | 0.5 | 100 | 0.05 | 51.667 | 103.334 | 1033.34 | 83.1333 | 0.75213 | 2.5333 | 1.0877 | 0 | 0 | 0 | 0.99864 | 1.5361 | 2 | 2.2322 | 2.2322 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_0
208_SEQ_BP | 208 | BP | TRUE | 1 | 100 | 0.1 | 98.9054 | 98.9054 | 989.0538 | 143.836 | 2.043 | 9.5 | 0.58514 | 0 | 0 | 0 | 0.99938 | 1.3466 | 2 | 1.8819 | 1.8819 | FALSE | TRUE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_1
225_SEQ_BP | 225 | BP | TRUE | 1 | 100 | 0.1 | 92.9455 | 92.9455 | 929.455 | 174.6579 | 0.79269 | 1.7333 | 0.98517 | 0 | 0 | 0 | 0.99886 | 1.4355 | 2 | 1.6026 | 1.6026 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_1
263_SEQ_BP | 263 | BP | TRUE | 5 | 100 | 0.5 | 648.9771 | 129.7954 | 1297.9543 | 998.6475 | 0.8698 | 1 | 0.91189 | 5.2935 | 10.5404 | 61.5702 | 0.99761 | 1.5177 | 2 | 0.44381 | 0.44381 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_100_5
268_SEQ_BP | 268 | BP | TRUE | 5 | 100 | 0.5 | 256.2766 | 51.2553 | 512.5532 | 634.6308 | 0.84558 | 1.6667 | 1.0321 | -34.538 | 9.3857 | 27.3074 | 0.99492 | 1.5232 | 2 | 0.71131 | 0.71131 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_5
270_SEQ_BP | 270 | BP | TRUE | 2 | 100 | 0.2 | 195.7477 | 97.8738 | 978.7383 | 237.7657 | 0.79894 | 1.3333 | 0.96672 | -14.713 | 4.8967 | 39.9757 | 0.99907 | 1.4732 | 2 | 0.045739 | 0.045739 | FALSE | TRUE | FALSE | 0 | OK | TRUE | TRUE | BP_100_2
271_SEQ_BP | 271 | BP | TRUE | 2 | 100 | 0.2 | 4817.3641 | 2408.682 | 24086.8203 | 999.9372 | 1.314 | 0.93333 | 1.1764 | 9.65 | 54.3923 | 88.5684 | 0.98064 | 1.0338 | 2 | 0.39389 | 0.39389 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_2
273_SEQ_BP | 273 | BP | TRUE | 2 | 100 | 0.2 | 167.5329 | 83.7664 | 837.6643 | 328.8779 | 0.80926 | 1.1667 | 0.94991 | -4.7565 | 4.4124 | 37.9704 | 0.99944 | 1.4064 | 2 | 0.89634 | 0.89634 | FALSE | FALSE | FALSE | 20 | OK | TRUE | TRUE | BP_100_2
277_SEQ_BP | 277 | BP | TRUE | 2 | 100 | 0.2 | 155.2199 | 77.61 | 776.0997 | 300.8805 | 0.76229 | 1 | 0.95751 | 5.3245 | 4.4148 | 35.1585 | 0.99918 | 1.4655 | 2 | 0.39656 | 0.39656 | FALSE | FALSE | TRUE | 100 | INVALID_CAL | FALSE | TRUE | BP_100_2
279B_SEQ_BP | 279 | BP | TRUE | 2 | 100 | 0.2 | 183.4352 | 91.7176 | 917.1758 | 339.1 | 0.8299 | 0.93333 | 0.99249 | 9.112 | 5.3028 | 34.5962 | 0.99911 | 1.4579 | 2 | 0.60466 | 0.60466 | FALSE | FALSE | FALSE | 20 | OK | TRUE | TRUE | BP_100_2
281_SEQ_BP | 281 | BP | TRUE | 2 | 100 | 0.2 | 196.8855 | 98.4427 | 984.4273 | 372.3843 | 0.84464 | 1.375 | 0.95845 | -17.194 | 4.8386 | 40.6886 | 0.99859 | 1.4568 | 2 | 2.0293 | 2.0293 | FALSE | TRUE | FALSE | 20 | OK | TRUE | TRUE | BP_100_2
286_SEQ_BP | 286 | BP | TRUE | 2 | 100 | 0.2 | 201.0357 | 100.5178 | 1005.1785 | 367.2413 | 0.86275 | 1.1083 | 0.98067 | 2.612 | 5.812 | 35.3062 | 0.99866 | 1.5551 | 2 | 4.902 | 4.902 | FALSE | FALSE | FALSE | 0 | OK | TRUE | TRUE | BP_100_2